## Slide 2: Extraoral Radiology
Dr. B. Naveen Kumar
Dept. of Oral Medicine and Radiology

## Slide 3: Extraoral Projections
Images can be produced in the dental office
X-ray source can be
  Intraoral X-ray machine
  Combination Pan/Ceph
  Medical
  Dedicated Cephalometric machine

## Slide 4: Common Extraoral Views
From: White and Pharoah 5th and 6th editions

## Slide 5: Projection of the Central Ray
The central ray is directed perpendicular to the plane of the film in the horizontal and vertical dimensions from a source 91 to 102 cm (36 to 40 inches) away. The source should be coincident with the midsagittal plane of the head at the level of the bridge of the nose.
For cephalometric applications the distance should be 152.4 cm (60 inches) between the x-ray source and the midcoronal plane. This increased distance provides an resultant image with a broader gray scale.

## Slide 6: Reference Planes

## Slide 7: Reference Planes
a
b
c
d
e
e=axial plane
a=canthomeatal plane b=Frankfort Horizontal plane
c=coronal plane d=sagittal plane

## Slide 8: Posteroanterior View
Indications:
  Disease
  Trauma
  Developmental
abnormalities
  Growth and development

## Slide 9: PA Ceph Projection
The image receptor is placed in front of the patient, perpendicular to the midsagittal plane and parallel to the coronal plane
The patient is placed so that the canthomeatal line forms a 10-degree angle with the horizontal plane and the Frankfurt plane is perpendicular to the image receptor. In the PA skull projection, the C-M line is perpendicular to the image receptor.
10°

## Slide 10: PA Ceph Projection

## Slide 11: PA Projection

## Slide 12
PA
Landmarks

## Slide 13: Lateral Skull View
Indications
  Trauma
  Disease
  Developmental
abnormalities

## Slide 14: Lateral Cephalometric Projection
The image receptor is positioned parallel to the patient's midsagittal plane. The side of interest is placed toward the image receptor to minimize distortion.
In cephalometric radiography, the patient is placed with the left side toward the image receptor, and a wedge filter at the tube head is positioned over the anterior aspect of the beam to absorb some of the radiation and allow visualization of soft tissues of the face.

## Slide 15: Lateral Cephalometric Projection
Uneven magnification of left and right sides
Structures close to the midsagittal plane (e.g., the clinoid processes and inferior turbinates) should be nearly superimposed.

## Slide 16: Lateral Skull Landmarks

## Slide 17: Lateral Cephalometric Projection

## Slide 18: Submentovertex View
Indications
  View base of skull, position of condyles, sphenoid sinuses
  Fractures of the zygomatic arch (Jughandle View)

## Slide 19: Submentovertex Projection
AKA Base projection

## Slide 20: Submento- vertex Projection
Check to see the symmetry
Buccal and lingual cortical plates of the mandible projected as uniform opaque lines

## Slide 21: Submento- vertex Projection

## Slide 22: Submento- vertex Landmarks

## Slide 23: Submentovertex Projection
Jug handle view

## Slide 24: Submentovertex Jughandle View

## Slide 25: Submentovertex Jughandle View

## Slide 26: Occipeto-Menton Projection aka Waters View
Indications
  Evaluation of the maxillary sinus
  Evaluation of the
frontal sinus
  View of orbit and nasal fossa

## Slide 27: Occipeto-Menton Projection
C-M plane forms
~37° angle with the image receptor

## Slide 28: Occipeto-Menton Projection
Petrous ridge

## Slide 29: Lateral Oblique Views
Largely replaced by panoramic views
Indications:
  Position of impacted
third molars
  Fractures of the ramus, condyle, or body of the mandible (but not symphysis)

## Slide 30: Lateral Oblique Projection
The image receptor is placed against the patient's cheek on the side of interest and centered in the molar-premolar area. The lower border of the cassette is parallel and at least 2 cm below the inferior border of the mandible. The head is tilted towards the side being examined, and the mandible is protruded.
The central ray is directed toward the premolar-molar region from a point 2 cm below the opposite angle of the mandible.

## Slide 31: Lateral Oblique Projection

## Slide 32: Lateral Oblique Projection-Body
Body of the mandible

## Slide 33: Lateral Oblique Projection- Ramus
Ramus
Also known as Lateral ramus view

## Slide 34: Reverse Towne View
Indications:
  Suspected fracture of the condylar neck
  Shows posterolateral wall of maxillary sinus

## Slide 35: Reverse Towne projection
-300

## Slide 36: Reverse Towne projection
-300

## Slide 37: Townes Landmarks

## Slide 38: Panoramic View

## Slide 39: Comparative views

## Slide 40: Linear Tomography

## Slide 41: Trans-cranial views

## Slide 42: Trans-pharyngeal

## Slide 43: Trans-orbital